{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["4-4"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"4-4","index":0,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[[2,6,3,6],[2,7,3,7],[39,1,39,5],[41,1,41,5],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,5,3,5]],"flags":["formulas_cached_only"]}
["４－４　主な電源開発の状況(道内)"]
[]
[null,"区　分","発電所名","燃料の種類","出　力","着　　工","運　　開","備　考"]
[{"$nulls":4},"（1,000kW）"]
[null,"水　力","京極１号",null,200,null,"H26.10","北電"]
[null,null," 〃 ２号",null,200,"H13. 9","H27.11","北電"]
[null,null," 〃 ３号",null,200,null,"〔R15以降〕","北電"]
[null,null,"高見２号",null,100,"S53.10","H5. 4","北電"]
[null,null,"滝里",null,57,"H8. 4","H11. 7","北電"]
[null,null,"新得",null,23,"H31. 4","R4. 6","北電"]
[null,null,"新岩松",null,16,"H25. 7","H28. 1","北電"]
[null,null,"奥沙流",null,15,"H3.12","H6. 4","北電"]
[null,null,"新忠別",null,10,"H15. 7","H18.10","北電"]
[null,null,"日高",null,10,"H7. 4","H10. 4","北電"]
[null,null,"小樽内",null,7,"S62. 6","H1. 6","北電"]
[null,null,"ピリカ",null,4,"S63.10","H3. 5","北電"]
[null,null,"朱鞠内",null,1.1,"H24. 2","H25. 3","北電"]
[null,null,"豊浦",null,3.5,"S62. 9","H1.10","ほくでん\nエコエナジー"]
[null,null,"二風谷",null,3,"S63. 2","H8. 7","ほくでん\nエコエナジー"]
[null,null,"サンル",null,1.1,null,"H31. 4","ほくでん\nエコエナジー"]
[null,null,"シューパロ",null,28.4,"H22. 8","H27. 4","道企業局"]
[null,null,"滝下",null,16.6,"S62. 1","H4. 4","道企業局"]
[null,null,"新桂沢",null,16.8,"H31. 4","R4. 5","電源開発"]
[null,null,"札内川",null,8,"H1.10","H9. 7","電源開発"]
[null,"火　力","知内２号","重油",350,"S55. 3","H10. 9","北電"]
[null,null,"北海道製油所"," 〃",15,null,"H17. 8","出光興産"]
[null,null,"苫東厚真４号","石炭",700,"H11. 3","H14. 6","北電"]
[null,null,"室蘭中央５号"," 〃",145,null,"H13.10","日本製鉄"]
[null,null,"釧路工場Ｎ１号"," 〃",80,null,"H16. 1","日本製紙"]
[null,null,"釧路"," 〃",112,"H29.12","R2.12","釧路火力"]
[null,null,"石狩湾新港１号","LNG",569.4,"H27. 8","H31. 2","北電"]
[null,null,"　〃　　　２号　"," 〃",569.4,"〔R13. 3〕","〔R16.12〕","北電"]
[null,null,"　〃　　　３号"," 〃",569.4,"〔R16. 3〕","〔R19.12〕","北電"]
[null,null,"石狩"," 〃",78,"H29．4","H30.10","北ガス"]
[null,null,"札幌"," 〃",15.6,"H29. 9","R1. 7","北ガス"]
[null,"原子力","泊１号",null,579,"S59. 8","H1. 6","北電"]
[null,null,"〃２号",null,579,"〃","H3. 4","北電"]
[null,null,"〃３号",null,912,"H15.11","H21.12","北電"]
[]
[null,"（注）１ 〔　　〕は、予定年月。"]
[null,"　　　２ 平成元年以降に運開及び今後運開予定の発電所を掲載。"]
[null,"出所：電気事業便覧（（一財）経済産業調査会）等"]