{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["ダム"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"ダム","index":0,"n_rows":21,"n_cols":11,"rows_kept":21,"cut":false,"hidden":false,"merged":[[1,1,1,5],[3,4,3,5]],"flags":["formulas_cached_only"]}
[]
[null,"ダムにおける安全利用点検総括表"]
[null,"【ダム】"]
[null,"所管建設管理部名","出張所名","水系名","ダム名"]
[1,"札幌建設管理部","岩見沢出張所","石狩川","美唄ダム","※",null,"※"]
[2,null,"長沼出張所","石狩川","栗山ダム","※",null,"□",null,null,"保安テープ・ロープで対応"]
[3,null,"岩見沢出張所","石狩川","当別ダム","◇",null,"□"]
[4,"小樽建設管理部","事業課","朝里川","朝里ダム","◇",null,"◇"]
[5,"函館建設管理部","事業課","汐泊川","矢別ダム"]
[6,null,null,"亀田川","新中野ダム"]
[7,null,"江差出張所","天野川","上ノ国ダム"]
[8,"室蘭建設管理部","浦河出張所","様似川","様似ダム"]
[9,null,"門別出張所\n静内事業所","静内川","高見ダム","※"]
[10,null,"浦河出張所","向別川","浦河ダム"]
[11,"旭川建設管理部","事業課","石狩川","愛別ダム","□"]
[12,null,"士別出張所","天塩川","西岡ダム","◇"]
[13,"帯広建設管理部","鹿追出張所","十勝川","佐幌ダム"]
[14,"釧路建設管理部","事業課","庶路川","庶路ダム","※"]
[null,"※：破損等が有り、応急処置を実施"]
[null,"□：残雪により未確認"]
[null,"◇：一部残雪により未確認事項有り"]